Geochemical fingerprinting of Tanzanian uranium deposits: The insights of REE ratios (La/Ce, Nd/Ce, and Sm/Nd) as a provenance tool

Lazaro H. Meza1,2,, John W. Kondoro1, Iyabo T. Usman2, Najat K. Mohammed3, Titus A. Msagati4, Mwingereza J. Kumwenda1, and Mohamed S. Mazunga1

1Department of Physics, University of Dar es Salaam, P. O. Box 35063, Dar es Salaam, Tanzania

2School of Physics, University of Witwatersrand, 1 Jan Smuts Avenue, Braamfontein 2050, Johannesburg, South Africa

3Tanzania Atomic Energy Commission, P. O. Box 1585 AF, Plot No. 634, Atomu Road, Mnadani Street, Kikombo Area, 41206, Dodoma, Tanzania

4Institute for Nanotechnology and Water Sustainability, University of South Africa, Roodepoort, Johannesburg 1710, South Africa

Co-author, e-mails:, johnkondoro@gmail.com, Iyabo.Usman@wits.ac.za, najatkassim65@gmail.com, msagatam@unisa.ac.za, kmwingereza@yahoo.com, mazungam@gmail.com

| Keywords |  | Abstract |
| --- | --- | --- |
| Geochemical Investigation; Rare Earth Elements (REEs); REE Ratios (La/Ce, Nd/Ce, Sm/Nd); Uranium Provenance |  | Accurate uranium provenance determination is crucial for nuclear non-proliferation and environmental protection, yet a forensic-level geochemical framework for Tanzanian uranium deposits has been lacking. This study establishes a robust analytical method using forty-five samples from three major deposits (Mkuju, Manyoni, and Bahi), analyzing elemental compositions, particularly Rare Earth Elements (REEs), via ICP-MS, and validating results using Principal Component Analysis (PCA) and Hierarchical Cluster Analysis (HCA). Despite their proximity, the deposits exhibit distinct geochemical signatures as revealed by key REE ratios and anomalies. Mkuju (mean La/Ce 1.17, Nd/Ce 0.62, Sm/Nd 0.56) is characterized by a positive Europium (Eu) anomaly and heavy REE enrichment, indicating a high temperature, reducing hydrothermal origin. Manyoni (mean La/Ce 1.22, Nd/Ce 0.53, Sm/Nd 0.56) shows a strong positive Cerium (Ce) anomaly and a negative Eu anomaly, suggesting a redox-driven, oxidizing environment typical of sandstone-hosted deposits. Bahi (mean La/Ce 1.24, Nd/Ce 0.60, Sm/Nd 0.55) exhibits light REE enrichment with negative Ce and Eu anomalies, pointing to a complex secondary, redox-controlled model. Statistically, PCA showed a single dominant factor accounting for ∼90% of Mkuju's and 99% of Manyoni's variability, and HCA revealed a simple binary clustering for both, confirming a single-event, redox-controlled deposition. In contrast, Bahi's HCA showed three distinct clusters, reflecting multiple geological influences. Furthermore, the strong positive correlation between La/Ce and Eu/Eu∗ in Manyoni (r = 0.713) and moderate correlations in Mkuju (r = 0.592) and Bahi (r = 0.498) confirm a shared influence from geological history. This framework provides a powerful tool for nuclear forensics, with future work advised to integrate isotopic data (especially Pb isotopes) and machine learning for enhanced accuracy. |

## Introduction

Accurately pinpointing the source of uranium has become a cornerstone of nuclear non-proliferation, environmental monitoring, and nuclear forensics (Mayer et al. 2011, Hutcheon et al. 2015). Traditionally, provenance determination has relied heavily on U, Th, and Pb isotope ratios (e.g., 234U/238U, 204Pb/206Pb) (Richter et al. 1999, Keegan et al. 2008, Kupi et al. 2020). However, these single-parameter approaches often face limitations in achieving precise origin pinpointing due to overlapping signatures and complex geological histories (Keegan et al. 2012, Kristo et al. 2016). Consequently, integrated approaches that combine multiple isotopic and chemical characteristics are increasingly recognized as the best tool for enhancing source discrimination (Brennecka et al.2010, Varga et al. 2010, Sirven et al. 2009, Krajkó et al. 2014, Meza et al. 2025).

Rare earth elements (REEs) offer a powerful complementary avenue as their consistent behavior during uranium processing allows for robust tracing of the ore back to its geological source (Asai et al. 2015, Khumalo et al. 2018, Bonhoure et al. 2007, Madzunya et al. 2021). The unique patterns and ratios of REEs in ore deposits can act as geochemical fingerprint, reflecting the specific source rock, magmatic differentiation, and alteration events that formed the deposit (McLennan S.M. 1989, Nakano 2016). This study specifically aims to overcome the limitations of relying solely on isotopic methods by demonstrating the enhanced potential of specific REE ratios (La/Ce, Nd/Ce, and Sm/Nd) (Maas et al. 1987) as a complementary provenance tool in Tanzania.

This research hypothesizes that uranium samples from the Mkuju, Manyoni, and Bahi deposits possess unique and distinguishable geochemical signatures based on their REE ratios. These signatures are expected to directly correspond to their geological origins: Mkuju's hydrothermal origin will be reflected in a positive Europium (Eu) anomaly and heavy REE enrichment; Manyoni's redox-controlled formation show a strong positive Cerium (Ce) anomaly and a negative Eu anomaly; and Bahi's secondary alteration is characterized by light REE enrichment, a subtle negative Ce anomaly, and a negative Eu anomaly. The study further proposes that multivariate analysis (PCA, HCA, Pearson Correlation) will validate these findings by producing distinct clusters that correlate with each deposit, thereby proving the efficacy of REE ratios as a provenance tool. By analyzing 45 uranium soil samples from these deposits, this research advances the understanding of uranium mineralization and establishes a robust foundation for advanced uranium fingerprinting methodologies crucial for global security and environmental stewardship (Mayer et al. 2008, Sarparandeh et al. 2018, Trabelsi et al. 2023).

## Materials and Methods

### Geological setting of the study areas and sample collection

The Mkuju uranium deposit is a sandstone-hosted type, with mineralization occurring within the fluviatile sediments of the Triassic Mkuju formation (Banzi et al. 2015, Kasoga et al. 2016) (part of the Karoo supergroup) as detailed and shown in Table 1 and Figure 1, respectively. In contrast, the uranium deposits at Manyoni and Bahi are primarily surficial (calcrete-hosted) mineralization in semi-arid playa lake and swamp environments (mbugas). The uranium was leached from surrounding uranium-rich Archean granites and transported/precipitated within Pliocene to Quaternary lacustrine sediments (Kimaro et al. 2015)

### Table 1: 	Basic information on the geological setting of Mkuju, Manyoni and Bahi uranium deposits

| Characteristic |  | Mkuju |  | Manyoni |  | Bahi |
| --- | --- | --- | --- | --- | --- | --- |
| Location |  | Selous Basin, Southern Tanzania (9°45'–10°30'S, 30°30'–37°00'E) |  | Central Tanzanian Craton (5°45'S, 34°50'E) |  | Central Tanzania Basement, East African Craton (5°51'–6°20'S, 34°59'–35°21'E) |
| Host Rock |  | Fluvial/lacustrine sandstones, siltstones (Karoo Supergroup) |  | Neoproterozoic Usagaran metasedimentary rocks; mineralization in quartz veins/fractures |  | Paleoproterozoic graphitic schists/gneisses, interlayered with quartzites/amphibolites |
| Mineralization |  | Shallow, tabular mineralization linked to organic matter and redox changes. |  | Structurally controlled uraninite in quartz veins/fractures, potentially polymetallic. |  | Disseminated uraninite and coffinite associated with sulfide minerals. |
| Primary Controls |  | Redox changes and organic matter. |  | Structural pathways (faults, shear zones) and redox conditions from graphite. |  | Tectonic history and carbon-rich, reducing environment from graphitic schists. |

A total of forty-five uranium soil samples (≈ 200 g each) were collected. An equal number of fifteen samples were taken from each of the three distinct uranium mine sites and subsequently packed in zippered plastic bags. Manyoni and Bahi samples were collected at ≈1 km intervals. Mkuju source rocks, as typically shown in Figure 2, were retrieved from warehouse storage. Samples were crushed, milled, and sieved into a fine 25 μm powder (Jarvis et al. 1992, Ntsoi et al. 2020).

Figure 1:	Geological map of the Nyota uranium deposit (Mkuju), showing major lithologies of the Triassic Mkuju series, including sandstones, arkose, and gritstone (Mantra Resources 2009).

Figure 2: 	Cross-sectional photos of drill core samples showing host rocks composed of moderately indurated, sub horizontal, braided fluviatile sedimentary rocks (grits, sandstones, and siltstones) (Mantra Resources 2009)

### Sample preparation and measurement

The rigorous sample preparation process began with the precise weighing of 0.5 g aliquots of the uranium ore soil samples. These were transferred to microwave digestion vessels, where they underwent acid digestion as specified in Table 2. Specifically, 20 mL of aqua regia (3:1 v/v HCl: HNO3), 1 mL of hydrofluoric acid (HF), and 0.5 mL of hydrogen peroxide (H2O2) were added to each vessel (Mester et al. 2003). To ensure quality control, certified reference materials (CRMs) and procedural blanks were subjected to the same procedure. The digestion was performed in an Anton Paar Multiwave GO microwave system, utilizing a program that consisted of a 10-minute ramp to 200 oC followed by a 30-minute hold at that temperature (Kingston et al. 2018). Following digestion, the sample solutions were diluted to a final volume of 50 mL and refrigerated for 24 hours. The solutions were then vigorously shaken and subsequently filtered through 45−μm and 22−μm filters to remove particulates (Richter et al. 1999).

Table 2. The microwave digestion method is used for sample preparation.

| Parameters |  |
| --- | --- |
| Microwave Oven Rotor type | Anton Paar multiware Go High pressure, quartz insert |
| Rotor capacity Digestion: Sample weight HNO3 HCl H2O2 HF Deionized water Oven Program: Pre-digestion Ramp (200 oC) | - Vials 0.5 g 2.0 mL 6.0 mL 0.5 mL 1 mL 2.0 mL 5 min 10 min |
| Hold Cool Down | 30 min 15 min |

For the measurement phase, the elemental composition, including REEs, was determined using a PerkinElmer NexION 350D ICP-MS (Dean 2005) with Rhodium Internal Standard. The instrument (ICP-MS), as specified in Table 3, employed an argon plasma operating at 1350 W with a temperature of approximately 10,000∘C to ionize the sample elements. The ions were directed into the mass analyzer using a 'peak hopping – KED mode' scan to effectively minimize polyatomic interferences (Houk 1986, Douglas 1989). A total of seven calibration standards, ranging from 5 ppb to 1000 ppb, along with blanks and quality control samples, were run alongside the prepared samples for accurate quantification.

Table 3. NexION 350D ICP-MS Instrumental Operating Conditions

| NexION 350D ICP-MS Parameters |  |
| --- | --- |
| Sample Introduction | Spray Chamber |
| ICP- RF power Skimmer cone | 1350 W Nickel |
| Sample cone Gas flow rates (L/min) | Nickel Nebulizer: 0.80, auxiliary: 1.35, plasma: 18.0 |
| Lens voltage Scan mode | 4.850 V Peak hopping – KED mode |
| Number of sweeps Number of replicates | 20 3 |
| Sample flush Read delay | 35 (s); Speed (± rpm): 45 25 (s); Speed (± rpm): 20 |
| Wash Autosampler | 30 (s); Speed (± rpm): 40 S10 |

## Results and Discussion

### Rare earth element (REE) ratios (La/Ce, Nd/Ce and Sm/Nd)

The REE ratios, as shown in Table 4, and chondrite-normalized values provide distinct geochemical fingerprints. The ability of these REE ratios to distinguish geological origins is analogous to the use of lead (Pb) stable isotope ratios (204Pb/206Pb, 207Pb/206Pb, 208Pb/206Pb) for uranium characterization. Studies of this nature were carried out and documented at uranium mines in several countries, including but not limited to Namibia and South Africa, as shown in Table 5 (Keegan et al. 2008, Nakano 2016, Kupi et al. 2020).

Table 4: Results of REE isotope ratio measurements of Mkuju River uranium ore soil samples (The present study).

| Sample ID |  |  |  |
| --- | --- | --- | --- |
| MKJ01 | 1.0803 | 0.5612 | 0.5367 |
| MKJ02 | 1.0884 | 0.6516 | 0.5786 |
| MKJ03 | 1.1807 | 0.6479 | 0.5744 |
| MKJ04 | 1.3933 | 0.6269 | 0.5687 |
| MKJ05 | 1.2114 | 0.6313 | 0.5459 |
| MKJ06 | 1.0746 | 0.6777 | 0.6522 |
| MKJ07 | 1.1826 | 0.6109 | 0.5651 |
| MKJ08 | 1.2082 | 0.6036 | 0.5582 |
| MKJ09 | 1.1412 | 0.6302 | 0.5642 |
| MKJ10 | 1.2096 | 0.6308 | 0.5390 |
| MKJ11 | 1.1569 | 0.6194 | 0.5465 |
| MKJ12 | 1.1754 | 0.6367 | 0.5445 |
| MKJ13 | 1.1822 | 0.5989 | 0.5512 |
| MKJ14 | 1.1536 | 0.6144 | 0.5374 |
| MKJ15 | 1.1165 | 0.6275 | 0.5528 |
| Mean | 1.1703 ±0.0391 | 0.6246 ±0.0171 | 0.5610 ±0.0408 |
| SD | 0.0811 | 0.0279 | 0.0293 |
| RiC | 0.3840 | 0.7429 | 0.3249 |

Table 5: Results of lead (Pb) isotope ratio measurements of Namibia mine tailing samples (Kupi et al. 2020)

| Sample ID |  |  |  |
| --- | --- | --- | --- |
| TSF2-1 | 0.0589 | 0.9672 | 2.3113 |
| TSF2-2 | 0.0612 | 1.0153 | 2.4330 |
| TSF2-3 | 0.0584 | 0.9658 | 2.3160 |
| TSF2-4 | 0.0614 | 1.0148 | 2.4278 |
| TSF2-5 | 0.0610 | 1.0111 | 2.4209 |
| TSF2-6 | 0.0606 | 0.9993 | 2.4004 |
| TSF2-7 | 0.0605 | 1.0059 | 2.4007 |
| TSF2-8 | 0.0605 | 1.0045 | 2.4075 |
| TSF2-9 | 0.0606 | 1.0065 | 2.4037 |
| TSF2-10 | 0.0606 | 1.0020 | 2.3969 |
| Mean | 0.064 ±0.00091 | 0.9992±0.01708 | 2.3918±0.04078 |
| Measured NIST SRM 981 | 0.05888±0.0001 | 0.91441±0.0036 | 2.17061±0.0013 |
| Certified NIST SRM 981 (Catanzaro 1968) |  | 0.91464±0.0033 | 2.1681±0.0008 |

### Comparative analysis of logarithmically formatted chondrite normalized (CNREE) concentration patterns

The chondrite-normalized Rare Earth Element (REE) patterns for Mkuju, as shown in Figure 3, and those for Manyoni and Bahi offer distinct geochemical fingerprints crucial for assessing the origin of their associated uranium mineralization. A consistent general trend across all three samples is observed: a smooth depletion in the Light Rare Earth Elements (LREEs, La to Sm), followed by a prominent negative Europium (Eu) anomaly, and a subsequent overall flattening or modest increase in the Heavy Rare Earth Elements (HREEs, Gd to Lu).

Figure 3:	Chondrite normalized rare earth elements (CNREEs) concentration patterns (Mkuju)

This ubiquitous negative Eu anomaly is a dominant feature, strongly suggesting that the precipitating fluids and, by extension, the uranium have been involved in a process of plagioclase feldspar fractionation, or that the source material itself was depleted in Eu due to its preferential incorporation into plagioclase during high-temperature events. This common anomaly points definitively toward a history of significant fluid-rock interaction, a hallmark of hydrothermal systems, without uniquely differentiating between a magmatic or sedimentary ultimate source (Mishra et al. 2024).

A comparative analysis of the overall REE enrichment reveals a distinct gradient: The Mkuju patterns exhibit the greatest total REE enrichment, with concentrations reaching up to approximately 4.0 on the logarithmic scale for elements like Nd and Er. This profound enrichment suggests the uranium mineralization at Mkuju may have been driven by fluids that were either more REE-concentrated or interacted with a source material richer in these elements, potentially indicating a more evolved or higher-temperature hydrothermal system relative to the other two locations.

Conversely, the Bahi patterns show the lowest overall concentration, with many elements clustering near the zero line. The Manyoni patterns occupy an intermediate position in terms of enrichment, falling between the Mkuju and Bahi extremes. Although the characteristic negative Eu anomaly is shared, the varying magnitudes of REE enrichment—following the order Mkuju > Manyoni > Bahi imply distinct geochemical pathways, varying degrees of fluid-rock interaction, and differing metal scavenging efficiencies that contributed to the formation of their respective uranium deposits. Nevertheless, the common overall shape of these patterns strongly points toward a shared, likely crustal source for the REEs, which typically serves as a robust proxy for the origin of the accompanying uranium in diverse geological environments.

## Multivariate statistical validation

Comparative analysis of principal component analysis (PCA) data

At the Mkuju and Manyoni uranium deposits, the geochemical data are dominated by a singularly controlling factor. Specifically, Mkuju's data variability is explained by a single factor (F1) accounting for approximately 90% of the variance, while Manyoni's F1 factor accounts for an even higher 99%. This strong, single control functions as a clear uranium fingerprint, strongly suggesting that both systems are geochemically simple and governed by a primary, single mineralizing event, which is interpreted as redox-controlled deposition (Corcoran et al. 2019, Sumary et al. 2025).

In contrast, the Bahi uranium deposit, although also exhibiting a single dominant factor (F1) explaining a significant 98% of the variability, presents a more complex geological signal (Sumary et al. 2024). In this case, the F1 factor appears to represent an overarching lithogenic source (uranium derived from the parent rock) that has been subsequently overprinted by supergene processes. Further examination using biplots helps to reveal this dual influence, showing clear indications of both oxidative weathering (characterized by a positive Ce anomaly) and source-rock fractionation (evidenced by a negative Eu anomaly) (Sumary et al. 2025, Haneklaus et al. 2025)

### Comparative analysis of hierarchical cluster analysis (HCA) data

Both the Mkuju and Manyoni deposits reveal a clear division into two distinct geochemical clusters as shown in Figure 4. This binary pattern strongly supports a redox-controlled origin, such as a roll-front or sandstone-hosted deposit, where a sharp transition from oxidizing to reducing environments is the primary mechanism for concentrating uranium (Peel 2022, Mvile et al. 2023). In contrast, the Bahi deposit reveals a more complex pattern, with its samples separating into three distinct geochemical clusters. This suggests that multiple geological sources or processes have influenced the Rare Earth Element (REE) distribution, indicating a complex interaction between a primary geological source and secondary processes (Flamminii et al. 2024, Mvile et al. 2023).

Figure 4:	Hierarchical cluster analysis (dendrogram) on the measured variables REEs (Mkuju)

### Comparative analysis of pearson correlation matrices

The Mkuju deposit reveals two distinct geochemical groups. The first group consists of a coherent cluster of almost all Rare Earth Elements (REEs), spanning from Lanthanum (La) to Lutetium (Lu), and including Scandium (Sc), all exhibiting exceptionally high correlation coefficients (most r > 0.95).

This strong coherence indicates co-precipitation by a single dominant process (Patel et al. 2023). The second group is composed only of Cerium (Ce), which shows a very low correlation with other REEs (for example, its correlation with Sc is only r = 0.038) as shown in a white square in Figure 5. This significant separation of Ce signifies an oxidizing environment that acted to partition the element (Bingham-Koslowski et al. 2024).

.

Overall, this pattern supports a two-stage, redox-controlled origin. Furthermore, the moderate positive correlation between the La/Ce and Eu/Eu∗ ratios for Mkuju (r = 0.592) suggests that the geological processes responsible for the separation of Light REEs (LREEs) are directly related to the redox conditions that influence the Europium anomaly (Kwelwa et al. 2018). Conversely, Manyoni shows an exceptionally strong, positive correlation among all REEs, including Ce (most correlations are > 0.95, with many reaching 1.00) (Narsis et al. 2025). The absence of a Cerium anomaly indicates that the primary precipitation event was so dominant that it completely overprinted any prior oxidizing conditions. This pattern strongly supports a single-stage, redox-controlled origin.

Figure 5:	Correlation maps for REEs concentration (Mkuju)

Finally, Bahi reveals a strong positive correlation among most REEs (r > 0.99), indicating co-precipitation. However, Scandium (Sc) shows a much lower correlation (r ≈ 0.77−0.84) with the other REEs (Lyoba et al. 2025). This pattern suggests a lithogenic origin where the element distribution was subsequently influenced by supergene processes (Parviainen et al. 2025).

## Conclusion

The study successfully established that specific REE ratios (La/Ce, Nd/Ce, and Sm/Nd), validated by multivariate statistics, provide a powerful and distinguishable geochemical fingerprint for uranium provenance determination across the Mkuju, Manyoni, and Bahi deposits in Tanzania. The distinct REE anomalies and statistical clustering confirm the differing geological origins of the deposits: Mkuju's hydrothermal origin, Manyoni's single-stage redox-driven formation, and Bahi's complex, secondary redox-controlled nature. This framework is crucial for nuclear forensics. Future work should integrate traditional lead (Pb) isotopes and explore machine learning for enhanced accuracy and source discrimination.

Declaration of Competing Interest

The authors declare that they have no conflicts of interest regarding this work.

Acknowledgments

The authors wish to extend sincere gratitude to the Tanzania Atomic Energy Commission (TAEC) for financial support. Thanks are due to the Department of Physics at the University of Dar es Salaam (UDSM), Tanzania, and the School of Physics at the University of the Witwatersrand, South Africa, for their academic guidance and supervision. Furthermore, the authors acknowledge the technical assistance provided by the Institute for Nanotechnology and Water Sustainability (iNanoWS) at the University of South Africa (UNISA), with particular thanks for their efficiency in conducting the second batch ICP-MS sample analysis. Finally, the authors wish to acknowledge the contribution of the anonymous reviewers and Ms. Rose Lazarus for their meticulous review of the manuscript and unwavering encouragement.

References

Asai S and Limbeck A 2015 LA-ICP-MS of rare earth elements concentrated in cation-exchange resin particles for origin attribution of uranium ore concentrate. Talanta 135: 499–504.

Banzi FP, Msaki PK and Mohammed NK 2015 Distribution of Heavy Metals in Soils in the Vicinity of the Proposed Mkuju Uranium Mine in Tanzania. Environ. Pollut. 4(3): 43-44.

Bingham-Koslowski N, Azmy K and Layton-Matthews D 2024 Paleoenvironmental and chemostratigraphic implications of variations in geochemical proxies across the Upper Jurassic–Lower cretaceous boundary: a case study from the Flemish Pass Basin. Can. J. Earth Sci. 61(8): 966–984. https://doi.org/10.1139/cjes-2024-0033

Bonhoure J, Kister P, Cuney M and Deloule E 2007 Methodology for Rare Earth Element Determinations of Uranium Oxides by Ion Microprobe. Geostand. Geoanal. Res. 31: 209–225.

Brennecka GA, Borg LE, Hutcheon ID, Sharp MA and Anbar AD 2010 Natural variations in uranium isotope ratios of uranium ore concentrates understanding the 238U/235U fractionation mechanism. Earth Planet. Sci. Lett. 291: 228–233.

Corcoran L, Simonetti A, Spano T, Lewis S, Dorais C, Simonetti S and Burns P 2019 Multivariate analysis based on geochemical, isotopic, and mineralogical compositions of uranium-rich samples. Minerals, 9(9): 537. https://doi.org/10.3390/min9090537

Dean JR 2005 Practical Inductively Coupled Plasma Spectroscopy. John Wiley & Sons, New York.

Douglas DJ 1989 Quadrupole mass spectrometry. Mass Spectrom. Rev. 8(6): 541-572.

Flamminii F, Consalvo A, Cichelli A and Chiaudani A 2024 Assessing mineral content and heavy metal exposure in Abruzzo honey and bee pollen from different anthropic areas. Foods 13(12): 1930. https://doi.org/10.3390/foods13121930

Haneklaus NH, Banzi FP, Kazoka AS, Mwalilino JS and Mtoni YE 2025 Radioactivity distribution in soil, rock and tailings at the Geita Gold Mine in Tanzania. J. Radiat. Res. Appl. Sci., 18: 101528. https://doi.org/10.1016/j.jrras.2025.101528

Houk RS 1986 Inductively coupled plasma mass spectrometry (ICP-MS). Anal. Chem. 58(11): 229A-248A.

Hutcheon I, Kristo M and Knight K 2015 Non-proliferation Nuclear forensics. Mineralogical Association of Canada Short Course Series 43, Winnipeg, MB, Canada.

Jarvis KE, Gray AL and Houk RS 1992 Handbook of Inductively Coupled Plasma Mass Spectrometry. Blackie Academic & Professional, London.

Kasoga KF, Mwalongo DA, Sawe SF, Nyaruba MM and Dammalapati U 2016 Ambient Gamma dose rate measurements at Manyoni uranium deposits Singida Tanzania. Available from: https://www.researchgate.net/publication/305409516

Keegan E, Richter S, Kelly I, Wong H, Gadd P, Kuehn H and Alonso-Munoz A 2008 The provenance of Australian uranium ore concentrates by elemental and isotopic analysis. Appl. Geochem. 23: 765–777.

Keegan E, Wallenius M, Mayer K, Varga Z and Rasmussen G 2012 Attribution of uranium ore concentrates using elemental and anionic data. Appl. Geochem. 27: 1600–1609.

Khumalo N and Mathuthu M 2018 Determination of trace elements and lanthanide (REE) signatures in uranium mine products in South Africa by means of inductively coupled plasma mass spectrometry. J. Geochem. Explor. 186: 235–242.

Kimaro EE and Mohammed NK 2015 Natural Radioactivity Levels in the Area around the Uranium Deposit of the Bahi District in Dodoma Region, Tanzania. Int. Res. J. Pure Appl. Chem. 9. https://doi.org/10.9734/irjpac/2015/17747

Kingston HM and Jassie LB 1988 Introduction to Microwave Sample Preparation: Theory and Practice. American Chemical Society, Washington, DC.

Krajkó J, Varga Z, Yalcintas E, Wallenius M and Mayer K 2014 Application of neodymium isotope ratio measurements for the origin assessment of uranium ore concentrates. Talanta 129: 499-504.

Kristo M, Gaffney A, Marks N, Knight K, Cassata W and Hutcheon I 2016 Nuclear Forensic Science: Analysis of Nuclear Material Out of Regulatory Control 44.

Kupi TG, Uushona V, Mathuthu M, Coetzee M and van Tonder D 2020 Using lead isotope ratios to distinguish between samples of different uranium mines. Sci. Total Environ. 324: 1–5.

Kwelwa S, Dirks P, Sanislav I, Blenkinsop T and Kolling S 2018 Archaean Gold Mineralization in an Extensional Setting: The Structural History of the Kukuluma and Matandani Deposits, Geita Greenstone Belt, Tanzania. Minerals 8(4): 171. https://doi.org/10.3390/min8040171

Lyoba AJ, Machunda RL and Njau KN 2025 Assessment of heavy metals in soil and water from Bahi district, Tanzania. PLOS ONE 20(6): e0325487. https://doi.org/10.1371/journal.pone.0325487

Maas R, McCulloch MT, Campbell IH and Page RW 1987 Sm-Nd isotope systematics in uranium rare-earth element mineralization at the Mary Kathleen uranium mine, Queensland. Econ. Geol. 82: 1805–1826.

Madzunya D 2021 Determination of nuclear forensic signatures from lead ratios and REEs in uranium ore samples using ICP-MS and LIBS. MSc thesis, North-West University. https://repository.nwu.ac.za/handle/10394/38209

Mantra Resources Limited (2009). Maiden resource estimate for the Mkuju River Project, Tanzania. Available at: https://announcements.asx.com.au/asxpdf/20101229/pdf/41vylqvldt82r0.pdf (Accessed on: 25th December 2025).

Mayer K and Wallenius M 2008 Nuclear forensics: a methodology for identification of the origin of illicitly trafficked nuclear material. Anal. Bioanal. Chem. 391(5): 1589-1602.

Mayer K, Wallenius M, Lützenkirchen K, Galy J, Varga Z, Erdmann N, Buda R, Kratz JV, Trautmann N and Fifield K 2011 Nuclear Forensics: A Methodology Applicable to Nuclear Security and to Non-Proliferation. J. Phys. Conf. Ser. 312: 062003. https://doi.org/10.1088/1742-6596/312/6/062003

McLennan SM 1989 Rare earth elements in sedimentary rocks: Influence of provenance and sedimentary processes. In: Lipin BR and McKay GA (Eds) Reviews in Mineralogy vol. 21 (pp. 169–200), Mineralogical Society of America, Washington, DC.

Mester Z 2003 Microwave digestion for trace element determination in environmental samples. Trends Anal. Chem. 22(8): 492-500.

Meza LH, Mazunga MS, Kondoro JW, Usman IT, Msagati TA, Mlambo FF, Lugendo IJ and Kumwenda MJ 2025 The isotopic and elemental patterns of uranium ore as tools for its provenance determination: A systematic review. Sci. Justice 65(3): 101252. https://doi.org/10.1016/j.scijus.2025.101252

Mishra P, Sati M and Krishnamurthi R 2024 A Review on Uranium Mineralization Related to Na-Metasomatism: Indian and International Examples. Geosciences, 14(11): 304. https://doi.org/10.3390/geosciences14110304

Mvile J, Kim R and Kim KW 2023 Source apportionment of potentially toxic elements in soils from an urbanising region, Singida, Central Tanzania. J. Afr. Earth Sci. 205: 104998.

Nakano T 2016 Potential uses of stable isotope ratios of Sr, Nd, and Pb in Geological Materials for Environmental Studies. Proc. Jpn. Acad. Ser. B 92: 167–184.

Narsis M, Mohammed NK and Haneklaus N 2025 Assessment of natural radioactivity and radiation risks in soil near the Manyoni uranium deposit, Tanzania. Sci. Rep. 15(1): 1-12. https://doi.org/10.1038/s41598-025-11977111

Ntsohi L, Usman I, Mavunda R and Kureba C 2020 Characterization of uranium in soil samples from a prospective uranium mining in Serule, Botswana for nuclear forensic application. J. Radiat. Res. Appl. Sci. 14: 1–11.

Parviainen A, Beisner K, Blake J, O’Sullivan EM, Miller C and Rosca C 2025 Geochemical processes related to mined, milled, or natural metal deposits in a rapidly changing global environment. Geochemistry 25(1). https://doi.org/10.1144/geochem2024-062

Patel KS, Sharma S, Maity JP, Martín-Ramos P, Fiket Ž, Bhattacharya P and Zhu Y 2023 Occurrence of uranium, thorium and rare earth elements in the environment: A review. Front. Environ. Sci. 10: 1058053. https://doi.org/10.3389/fenvs.2022.1058053

Peel R 2022 Nuclear fuel reserves. In: Kirk-Othmer Encyclopedia of Chemical Technology, John Wiley & Sons. https://doi.org/10.1002/0471238961.1421031202211212.a01.pub3

Richter P and Lobinski R 1999 Microwave digestion of environmental samples for trace element determination. Trends Anal. Chem. 22(8): 492-500.

Sarparandeh M and Hezarkhani A 2018 Principal component analysis of rare earth elements in Sechahun iron deposit, central Iran. Int. J. Adv. Geosci. 6(2): 205-208. https://doi.org/10.14419/ijag.v6i2.13151

Sirven JB, Pailloux A, M’Baye Y, Coulon N, Alpettaz T and Gossé T 2009 Towards the determination of the geographical origin of yellow cake samples by laser-induced breakdown spectroscopy and chemometrics. J. Anal. At. Spectrom. 24: 451–459.

Sumary DP, et al. 2024 Naturally occurring radioactive material (NORM) distribution in the Tanzanian shield: Geochemical ecology and association. J. Environ. Sci. Health 59(4): 112-128.

Sumary DP, Raymond J, Chacha M, Banzi FP and Gomezulu E 2025 Assessment of heavy metals in soil and water from Bahi district, Tanzania. PLOS ONE, 20(6): e0325487.

https://doi.org/10.1371/journal.pone.0325487

Trabelsi R, Zouari K, Araguás-Araguás LJ, Moulla AS, Sidibe AM and Bacar T 2023 Assessment of geochemical processes in the shared groundwater resources of the Taoudeni aquifer system (Sahel region, Africa). Hydrogeol. J. https://doi.org/10.1007/s10040-023-02688-5

Varga Z, Wallenius M and Mayer K 2010 Origin assessment of uranium ore concentrates based on their rare-earth elemental impurity pattern. Radiochim. Acta 98: 771–778. 312: 062003.

https://doi.org/10.1088/1742-6596/312/6/062003

Corresponding Author e-mail: lamezarus@gmail.com

Received 30 July 2025, Revised 27 Nov 2025, Accepted 12 Dec 2025, Published 29 December 2025

https://doi.org/10.65085/2507-7961.1117

© College of Natural and Applied Sciences, University of Dar es Salaam, 2025

ISSN 0856-1761, e-ISSN 2507-7961

Project ownership transferred from Mantra Resources to Uranium One in 2011